{"text_format":"3","workbook":"xls","n_sheets":12,"sheets":["B.1 招标工程量清单封面(封-1)","C.1 工程项目招标工程量清单扉页(扉1)","D 工程项目计价总说明(表-01)","F.1.1 分部分项工程清单计价表(表-08)【安装工程】","F.1.2 单价措施项目清单计价表(表-08)【安装工程】","F.4 总价措施项目清单计价表(表-11)【安装工程】","G.1 其他项目清单计价汇总表(表-12)【安装工程】","G.2 暂列金额明细表(表-12-1)【安装工程】","G.4 专业工程暂估价表(表-12-3)【安装工程】","H 规费、税金项目清单计价表(表-13)【安装工程】","L.1 发包人提供主要材料和工程设备一览表(表-20)【安装~","L.2 承包人提供主要材料和工程设备一览表(表-21)【安装~"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"B.1 招标工程量清单封面(封-1)","index":0,"n_rows":8,"n_cols":7,"rows_kept":8,"merged":[[0,1,0,5],[1,0,1,6],[2,0,2,1],[2,2,2,4],[2,5,2,6],[3,0,3,1],[3,2,3,4],[3,5,3,6],[4,0,4,2],[4,4,4,6],[5,0,5,2],[5,4,5,6],[6,0,6,6],[7,0,7,6]],"flags":["formulas_cached_only"]}
["","剑阁下寺汽车站信息化集成系统","","","","","工程"]
["招标工程量清单","","","","","",""]
["招  标  人:",""," ","","","",""]
["        ","","(单位盖章)","","","",""]
["造价咨询人:","",""," ","","",""]
["              \r\n","","","(单位盖章)","","",""]
[" ","","","","","",""]
["封-1","","","","","",""]

{"sheet":"C.1 工程项目招标工程量清单扉页(扉1)","index":1,"n_rows":10,"n_cols":18,"rows_kept":10,"merged":[[0,0,0,1],[0,2,0,16],[1,0,1,17],[2,0,2,3],[2,4,2,8],[2,9,2,10],[2,12,2,17],[3,0,3,2],[3,3,3,7],[3,8,3,11],[3,12,3,17],[4,0,4,2],[4,3,4,7],[4,8,4,9],[4,10,4,14],[4,15,4,17],[5,1,5,6],[5,7,5,12],[5,13,5,17],[6,0,6,2],[6,3,6,6],[6,7,6,10],[6,11,6,14],[6,15,6,17],[7,0,7,1],[7,2,7,5],[7,6,7,13],[7,14,7,17],[8,0,8,4],[8,5,8,9],[8,10,8,15],[8,16,8,17],[9,0,9,17]],"flags":["formulas_cached_only"]}
["","","剑阁下寺汽车站信息化集成系统","","","","","","","","","","","","","","","工程"]
["招标工程量清单","","","","","","","","","","","","","","","","",""]
["招  标  人:","","",""," ","","","","","","","造价咨询人:"," ","","","","",""]
["","","","(单位盖章)","","","","","","","","","（单位资质专用章）","","","","",""]
["法定代表人\r\n或其授权人:","",""," ","","","","","","","法定代表人\r\n或其授权人:","","","",""," ","",""]
["","(签字或盖章)","","","","","","","","","","","","(签字或盖章)","","","",""]
["编　制　人:","",""," ","","","","","","","","复　核　人:","","",""," ","",""]
["","","(造价人员签字盖专用章)","","","","","","","","","","","","(造价工程师签字盖专用章)","","",""]
["编 制 时 间:","","","",""," ","","","","","复 核 时 间:","","","","",""," ",""]
["扉-1　　　","","","","","","","","","","","","","","","","",""]

{"sheet":"D 工程项目计价总说明(表-01)","index":2,"n_rows":22,"n_cols":3,"rows_kept":22,"merged":[[0,0,0,2],[2,0,2,2],[3,0,3,2],[4,0,4,2],[5,0,5,2],[6,0,6,2],[7,0,7,2],[8,0,8,2],[9,0,9,2],[10,0,10,2],[11,0,11,2],[12,0,12,2],[13,0,13,2],[14,0,14,2],[15,0,15,2],[16,0,16,2],[17,0,17,2],[18,0,18,2],[19,0,19,2],[21,0,21,2]],"flags":["formulas_cached_only"]}
["总  说  明","",""]
["工程名称：","剑阁下寺汽车站信息化集成系统","第1页 共1页"]
["1.工程概况","",""]
["  建设规模：\r\n  工程特征：\r\n  计划工期：\r\n  施工现场及变化情况：\r\n  自然地理条件：\r\n  环境保护要求：","",""]
["2.工程招标和分包范围","",""]
["3.工程量清单编制依据","",""]
["4.工程质量、材料、施工等的特殊要求","",""]
["5.其他需说明的问题","",""]
["","",""]
["","",""]
["","",""]
["","",""]
["","",""]
["","",""]
["","",""]
["","",""]
["","",""]
["","",""]
["","",""]
["","",""]
[]
["表-01","",""]

{"sheet":"F.1.1 分部分项工程清单计价表(表-08)【安装工程】","index":3,"n_rows":141,"n_cols":12,"rows_kept":141,"merged":[[0,0,0,11],[1,0,1,1],[1,2,1,6],[1,7,1,9],[1,10,1,11],[2,0,4,0],[2,1,4,2],[2,3,4,3],[2,4,4,4],[2,5,4,5],[2,6,4,7],[2,8,2,11],[3,8,4,8],[3,9,4,10],[4,1,4,2],[4,6,4,7],[4,9,4,10],[5,1,5,2],[5,6,5,7],[5,9,5,10],[6,1,6,2],[6,6,6,7],[6,9,6,10],[7,1,7,2],[7,6,7,7],[7,9,7,10],[8,1,8,2],[8,6,8,7],[8,9,8,10],[9,1,9,2],[9,6,9,7],[9,9,9,10],[10,1,10,2],[10,6,10,7],[10,9,10,10],[11,1,11,2],[11,6,11,7],[11,9,11,10],[12,1,12,2],[12,6,12,7],[12,9,12,10],[13,0,13,8],[13,9,13,10],[15,0,15,11],[16,0,16,11],[17,0,17,1],[17,2,17,6],[17,7,17,9],[17,10,17,11],[18,0,20,0],[18,1,20,2],[18,3,20,3],[18,4,20,4],[18,5,20,5],[18,6,20,7],[18,8,18,11],[19,8,20,8],[19,9,20,10],[20,1,20,2],[20,6,20,7],[20,9,20,10],[21,1,21,2],[21,6,21,7],[21,9,21,10],[22,1,22,2],[22,6,22,7],[22,9,22,10],[23,1,23,2],[23,6,23,7],[23,9,23,10],[24,1,24,2],[24,6,24,7],[24,9,24,10],[25,1,25,2],[25,6,25,7],[25,9,25,10],[26,1,26,2],[26,6,26,7],[26,9,26,10],[27,1,27,2],[27,6,27,7],[27,9,27,10],[28,1,28,2],[28,6,28,7],[28,9,28,10],[29,1,29,2],[29,6,29,7],[29,9,29,10],[30,1,30,2],[30,6,30,7],[30,9,30,10],[31,0,31,8],[31,9,31,10],[33,0,33,11],[34,0,34,11],[35,0,35,1],[35,2,35,6],[35,7,35,9],[35,10,35,11],[36,0,38,0],[36,1,38,2],[36,3,38,3],[36,4,38,4],[36,5,38,5],[36,6,38,7],[36,8,36,11],[37,8,38,8],[37,9,38,10],[38,1,38,2],[38,6,38,7],[38,9,38,10],[39,1,39,2],[39,6,39,7],[39,9,39,10],[40,1,40,2],[40,6,40,7],[40,9,40,10],[41,1,41,2],[41,6,41,7],[41,9,41,10],[42,1,42,2],[42,6,42,7],[42,9,42,10],[43,1,43,2],[43,6,43,7],[43,9,43,10],[44,1,44,2],[44,6,44,7],[44,9,44,10],[45,0,45,8],[45,9,45,10],[47,0,47,11],[48,0,48,11],[49,0,49,1],[49,2,49,6],[49,7,49,9],[49,10,49,11],[50,0,52,0],[50,1,52,2],[50,3,52,3],[50,4,52,4],[50,5,52,5],[50,6,52,7],[50,8,50,11],[51,8,52,8],[51,9,52,10],[52,1,52,2],[52,6,52,7],[52,9,52,10],[53,1,53,2],[53,6,53,7],[53,9,53,10],[54,1,54,2],[54,6,54,7],[54,9,54,10],[55,1,55,2],[55,6,55,7],[55,9,55,10],[56,1,56,2],[56,6,56,7],[56,9,56,10],[57,1,57,2],[57,6,57,7],[57,9,57,10],[58,1,58,2],[58,6,58,7],[58,9,58,10],[59,1,59,2],[59,6,59,7],[59,9,59,10],[60,1,60,2],[60,6,60,7],[60,9,60,10],[61,1,61,2],[61,6,61,7],[61,9,61,10],[62,1,62,2],[62,6,62,7],[62,9,62,10],[63,0,63,8],[63,9,63,10],[65,0,65,11],[66,0,66,11],[67,0,67,1],[67,2,67,6],[67,7,67,9],[67,10,67,11],[68,0,70,0],[68,1,70,2],[68,3,70,3],[68,4,70,4],[68,5,70,5],[68,6,70,7],[68,8,68,11],[69,8,70,8],[69,9,70,10],[70,1,70,2],[70,6,70,7],[70,9,70,10],[71,1,71,2],[71,6,71,7],[71,9,71,10],[72,1,72,2],[72,6,72,7],[72,9,72,10],[73,1,73,2],[73,6,73,7],[73,9,73,10],[74,1,74,2],[74,6,74,7],[74,9,74,10],[75,1,75,2],[75,6,75,7],[75,9,75,10],[76,1,76,2],[76,6,76,7],[76,9,76,10],[77,1,77,2],[77,6,77,7],[77,9,77,10],[78,1,78,2],[78,6,78,7],[78,9,78,10],[79,1,79,2],[79,6,79,7],[79,9,79,10],[80,1,80,2],[80,6,80,7],[80,9,80,10],[81,1,81,2],[81,6,81,7],[81,9,81,10],[82,0,82,8],[82,9,82,10],[84,0,84,11],[85,0,85,11],[86,0,86,1],[86,2,86,6],[86,7,86,9],[86,10,86,11],[87,0,89,0],[87,1,89,2],[87,3,89,3],[87,4,89,4],[87,5,89,5],[87,6,89,7],[87,8,87,11],[88,8,89,8],[88,9,89,10],[89,1,89,2],[89,6,89,7],[89,9,89,10],[90,1,90,2],[90,6,90,7],[90,9,90,10],[91,1,91,2],[91,6,91,7],[91,9,91,10],[92,1,92,2],[92,6,92,7],[92,9,92,10],[93,1,93,2],[93,6,93,7],[93,9,93,10],[94,1,94,2],[94,6,94,7],[94,9,94,10],[95,1,95,2],[95,6,95,7],[95,9,95,10],[96,1,96,2],[96,6,96,7],[96,9,96,10],[97,1,97,2],[97,6,97,7],[97,9,97,10],[98,1,98,2],[98,6,98,7],[98,9,98,10],[99,1,99,2],[99,6,99,7],[99,9,99,10],[100,1,100,2],[100,6,100,7],[100,9,100,10],[101,0,101,8],[101,9,101,10],[103,0,103,11],[104,0,104,11],[105,0,105,1],[105,2,105,6],[105,7,105,9],[105,10,105,11],[106,0,108,0],[106,1,108,2],[106,3,108,3],[106,4,108,4],[106,5,108,5],[106,6,108,7],[106,8,106,11],[107,8,108,8],[107,9,108,10],[108,1,108,2],[108,6,108,7],[108,9,108,10],[109,1,109,2],[109,6,109,7],[109,9,109,10],[110,1,110,2],[110,6,110,7],[110,9,110,10],[111,1,111,2],[111,6,111,7],[111,9,111,10],[112,1,112,2],[112,6,112,7],[112,9,112,10],[113,1,113,2],[113,6,113,7],[113,9,113,10],[114,1,114,2],[114,6,114,7],[114,9,114,10],[115,1,115,2],[115,6,115,7],[115,9,115,10],[116,0,116,8],[116,9,116,10],[118,0,118,11],[119,0,119,11],[120,0,120,1],[120,2,120,6],[120,7,120,9],[120,10,120,11],[121,0,123,0],[121,1,123,2],[121,3,123,3],[121,4,123,4],[121,5,123,5],[121,6,123,7],[121,8,121,11],[122,8,123,8],[122,9,123,10],[123,1,123,2],[123,6,123,7],[123,9,123,10],[124,1,124,2],[124,6,124,7],[124,9,124,10],[125,1,125,2],[125,6,125,7],[125,9,125,10],[126,1,126,2],[126,6,126,7],[126,9,126,10],[127,1,127,2],[127,6,127,7],[127,9,127,10],[128,1,128,2],[128,6,128,7],[128,9,128,10],[129,1,129,2],[129,6,129,7],[129,9,129,10],[130,1,130,2],[130,6,130,7],[130,9,130,10],[131,1,131,2],[131,6,131,7],[131,9,131,10],[132,1,132,2],[132,6,132,7],[132,9,132,10],[133,1,133,2],[133,6,133,7],[133,9,133,10],[134,1,134,2],[134,6,134,7],[134,9,134,10],[135,1,135,2],[135,6,135,7],[135,9,135,10],[136,1,136,2],[136,6,136,7],[136,9,136,10],[137,0,137,8],[137,9,137,10],[138,0,138,8],[138,9,138,10],[140,0,140,11]],"flags":["formulas_cached_only"]}
["分部分项工程量清单与计价表","","","","","","","","","","",""]
["工程名称：","","剑阁下寺汽车站信息化集成系统【安装工程】","","","","","标段：","","","第1页 共8页",""]
["序号","项目编码","","项目名称","项目特征描述","计量\r\n单位","工程量","","金额（元）","","",""]
["","","","","","","","","综合单价","合价","","其   中"]
["","","","","","","","","","","","暂估价"]
[" "," ","","综合布线"," "," "," ","","","","",""]
["1","030502005001","","网线","1.名称：网线 \r\n2.规格：详设计 \r\n3.线缆对数：详设计  \r\n4.敷设方式：详设计 ","m","1525","","","","",""]
["2","030502007060","","光缆","1.名称：光缆 \r\n2.规格：详设计 \r\n3.线缆对数：6芯光纤 \r\n4.敷设方式：详设计","m","1500","","","","",""]
["3","030411004002","","电源线 RVV-2*6mm2","1.名称：电源线 \r\n2.型号：Jb/T8734.3-2012 \r\n3.规格：RVV-2*6mm2\r\n","m","1000","","","","",""]
["4","030411004003","","广播音响线","1.名称：广播音响线  \r\n2.型号：2*2.5mm2\r\n3.规格：flykace 2*2.5mm2\r\n4.材质：合金\r\n\r\n","m","500","","","","",""]
["5","030411001004","","PVC电工线管","1.名称：PVC电工线管 \r\n2.材质：详设计 \r\n3.规格：详设计 \r\n \r\n","m","2800","","","","",""]
["6","030502015004","","光纤终端盒 12芯","1.光缆芯数：12芯","个","3","","","","",""]
["7","030502013002","","光纤收发机","1.名称：光纤收发机 \r\n2.类别：HTB--3100AB \r","台","6","","","","",""]
["本页小计","","","","","","","","","","",""]
[]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。                                                                             表-08 ","","","","","","","","","","",""]
["分部分项工程量清单与计价表","","","","","","","","","","",""]
["工程名称：","","剑阁下寺汽车站信息化集成系统【安装工程】","","","","","标段：","","","第2页 共8页",""]
["序号","项目编码","","项目名称","项目特征描述","计量\r\n单位","工程量","","金额（元）","","",""]
["","","","","","","","","综合单价","合价","","其   中"]
["","","","","","","","","","","","暂估价"]
["","","","","3.安装方式：安装在网络机柜中","","","","","","",""]
["8","030502016059","","光纤尾纤","1.名称：光纤尾纤 \r\n2.规格：SC-SC15米 \r\n3.安装方式：详设计","根","18","","","","",""]
[" "," ","","分部小计"," "," "," ","","","","",""]
[" "," ","","网络中心"," "," "," ","","","","",""]
["9","030502014007","","光纤熔接","1.方法：熔接法\r\n2.模式：光纤熔接","芯","6","","","","",""]
["10","030502012005","","网线水晶头","1.名称：网线水晶头 \r\n2.类别：RJ45千兆六类，非屏蔽  三叉式，≥750次  \r\n3.规格：超六类水晶头AMPCOMT6100 \r\n4.安装方式：详设计 \r\n5.底盒材质、规格：详设计","个","250","","","","",""]
["11","030502009012","","跳线","六类网线 千兆网络线CAT6跳线 1.5M","条","70","","","","",""]
["12","030502010024","","理线器","1.名称：理线器 \r\n2.规格：1U机柜\r\n","个","1","","","","",""]
["13","030502010023","","配线架","1.名称：配线架 \r\n2.规格：24口1U\r\n","个","1","","","","",""]
["14","030502001022","","服务器机柜","1.名称：服务器机柜 \r\n2.材质：详设计 \r\n3.规格：24U SPCC 冷扎钢板、\r\n前门5mm钢化玻璃  \r","台","1","","","","",""]
["本页小计","","","","","","","","","","",""]
[]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。                                                                             表-08 ","","","","","","","","","","",""]
["分部分项工程量清单与计价表","","","","","","","","","","",""]
["工程名称：","","剑阁下寺汽车站信息化集成系统【安装工程】","","","","","标段：","","","第3页 共8页",""]
["序号","项目编码","","项目名称","项目特征描述","计量\r\n单位","工程量","","金额（元）","","",""]
["","","","","","","","","综合单价","合价","","其   中"]
["","","","","","","","","","","","暂估价"]
["","","","","4.厚度：方孔条2.0mm，安装梁\r\n1.5mm，钢板1.2mm、服务器机柜\r\n层板2块 \r\n5.安装方式：详设计\r\n6.含隔板等费用","","","","","","",""]
["15","030501013027","","网络服务器","1.名称：网络服务器 \r\n2.类别：详设计 \r\n3.规格：Xeon E5-2609/2GB/300GB \r\n4.其他：系统支持Windows Server 2008 R2 SP1，x64（含Hyper-V v2）Windows Small Business Server 2011SUSE， LinuxEnterprise Server","台","1","","","","",""]
["16","030501004029","","服务器硬盘","1.名称：服务器硬盘 \r\n2.类别：详设计\r\n3.规格：1TB 7200转3.5英寸热插拔硬盘,带托架 \r\n","台","2","","","","",""]
["17","030501009009","","路由器","H3C RT-MS2020","台","1","","","","",""]
["18","030501012010","","网络交换机","1.名称：网络交换机 \r\n2.功能：H3C LS-S5110-28P-SI  24/100/1000Base-TX以太网端口，4个100/1000Base-X SFP端口，支持VLAN: 支持可堆叠 \r\n3.层数：详设计","台","2","","","","",""]
[" "," ","","分部小计"," "," "," ","","","","",""]
["本页小计","","","","","","","","","","",""]
[]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。                                                                             表-08 ","","","","","","","","","","",""]
["分部分项工程量清单与计价表","","","","","","","","","","",""]
["工程名称：","","剑阁下寺汽车站信息化集成系统【安装工程】","","","","","标段：","","","第4页 共8页",""]
["序号","项目编码","","项目名称","项目特征描述","计量\r\n单位","工程量","","金额（元）","","",""]
["","","","","","","","","综合单价","合价","","其   中"]
["","","","","","","","","","","","暂估价"]
[" "," ","","站务系统"," "," "," ","","","","",""]
["19","030501012010","","24口poe交换机","LS-S5120-28P-PWR 24个10/100Base-TX以太网端口（PoE+），2个10/100/1000Base-T以太网端口2个复用100/1000Base-X SFP端口，支持IEEE 802.1X认证/集中MAC地址认证","台","2","","","","",""]
["20","030507007061","","拆卸搬迁安装3棍匝机","1.名称：3棍匝机\r\n2.拆卸搬迁安装","台","2","","","","",""]
["21","030507014062","","自动检票机芯","1.名称：自动检票机芯 \r\n2.内容：含主控板、液晶显示器、二维码扫描、Ic卡读卡器","套","1","","","","",""]
["22","030501017067","","站务系统自动检票","1.配置：定制，站务系统自动检票检票，闸机开关控制、条形码自动检票","套","1","","","","",""]
["23","030501012010","","检票机交换机","1.名称：检票机交换机\r\n2.规格：8口普通交换机","台","1","","","","",""]
[" "," ","","分部小计"," "," "," ","","","","",""]
[" "," ","","广播通讯系统"," "," "," ","","","","",""]
["24","030501017039","","中英双语广播软件","站务自动播音软件     中英文双语自动站务语音、自动班次语音、自动管理语音、人工语音录制定时播放。","套","1","","","","",""]
["25","030904007041","","吸顶音响","1.名称：吸顶音响 \r\n2.规格：G-501 \r\n3.安装方式：吸顶安装","只","6","","","","",""]
["本页小计","","","","","","","","","","",""]
[]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。                                                                             表-08 ","","","","","","","","","","",""]
["分部分项工程量清单与计价表","","","","","","","","","","",""]
["工程名称：","","剑阁下寺汽车站信息化集成系统【安装工程】","","","","","标段：","","","第5页 共8页",""]
["序号","项目编码","","项目名称","项目特征描述","计量\r\n单位","工程量","","金额（元）","","",""]
["","","","","","","","","综合单价","合价","","其   中"]
["","","","","","","","","","","","暂估价"]
["26","030904007042","","防水壁挂音柱","1.名称：防水壁挂音柱\r\n2.规格：功率：30W-40W 输入电压：70V-100V 灵敏度：98db,频响：85-18KHz\r\n3.安装方式：详设计","只","2","","","","",""]
["27","030506001016","","350W网络功放","1.名称：350W网络功放\r\n2.类别：GM(Y)-IP350网络接口RJ45：1×3， 定阻输出，350W定压输出","台","1","","","","",""]
["28","031102019019","","IP寻呼话筒","GM8003D 电源DC 24V，网络接口标准RJ45配置接口DB9串口","个","1","","","","",""]
[" "," ","","分部小计"," "," "," ","","","","",""]
[" "," ","","柜台服务系统"," "," "," ","","","","",""]
["29","030507014046","","柜台显示器","1.名称：柜台显示器 \r\n2.类别：详设计 \r\n3.规格：尺寸19”，液晶屏 5:4 垂直可视角度180，接口类型 VGA，分辨率1280*1024","套","4","","","","",""]
["30","030507006038","","广播业务电脑","1.名称：广播业务电脑\r\n2.类别：详设计 \r\n3.规格：I5、4核、2G内存显卡","台","1","","","","",""]
[" "," ","","分部小计"," "," "," ","","","","",""]
[" "," ","","多媒体发布系统"," "," "," ","","","","",""]
["31","030904014044","","窗口双向对讲机","1.名称：窗口双向对讲机\r\n2.功能：详设计","台","3","","","","",""]
["32","030501017067","","数据汇聚软件","班次信息、车次信息、发车时间","套","1","","","","",""]
["本页小计","","","","","","","","","","",""]
[]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。                                                                             表-08 ","","","","","","","","","","",""]
["分部分项工程量清单与计价表","","","","","","","","","","",""]
["工程名称：","","剑阁下寺汽车站信息化集成系统【安装工程】","","","","","标段：","","","第6页 共8页",""]
["序号","项目编码","","项目名称","项目特征描述","计量\r\n单位","工程量","","金额（元）","","",""]
["","","","","","","","","综合单价","合价","","其   中"]
["","","","","","","","","","","","暂估价"]
["","","","","信息、线路信息、站台信息数据\r\n汇聚采集","","","","","","",""]
["33","030507014054","","拆卸搬迁安装55寸网络一体机","1.名称：55寸网络一体机\r\n2.拆卸搬迁安装","台","2","","","","",""]
[" "," ","","分部小计"," "," "," ","","","","",""]
[" "," ","","LED显示系统"," "," "," ","","","","",""]
["34","030501017055","","系统显示控制软件","1.名称：系统显示控制软件\r\n2.类别：详设计 \r\n3.规格：详设计 \r\n","套","1","","","","",""]
["35","011204001056","","售票口LED屏","1.名称：售票口LED屏\r\n2.类别：3.75单红 \r\n3.规格：6500mm*1012mm\r\n","m2","6.578","","","","",""]
["36","011204001056","","候车室LED屏","1.名称：候车室LED屏\r\n2.规格：P4全彩\r\n4.含2只音响","m2","6.6","","","","",""]
["37","011204001056","","停车位双面LED显示屏","1.名称：停车位双面LED显示屏\r\n2.类别：P10单红 \r\n3.规格：1600*640*14*2 \r\n","套","14","","","","",""]
["38","010606013069","","钢构","角钢结构屏支撑吊架 ，2M*2","套","14","","","","",""]
["39","011204001056","","卡位屏LED单红屏","1.名称：售票口LED屏\r\n2.类别：3.75单红 \r\n3.规格：1824mm×456mm ","套","2","","","","",""]
["40","011204001056","","站前广场LED单红屏","1.名称：站前广场LED单红屏\r","套","1","","","","",""]
["本页小计","","","","","","","","","","",""]
[]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。                                                                             表-08 ","","","","","","","","","","",""]
["分部分项工程量清单与计价表","","","","","","","","","","",""]
["工程名称：","","剑阁下寺汽车站信息化集成系统【安装工程】","","","","","标段：","","","第7页 共8页",""]
["序号","项目编码","","项目名称","项目特征描述","计量\r\n单位","工程量","","金额（元）","","",""]
["","","","","","","","","综合单价","合价","","其   中"]
["","","","","","","","","","","","暂估价"]
["","","","","2.类别：P10单红 \r\n3.规格：11500mm*700mm","","","","","","",""]
["41","030507006038","","候车室led发布电脑","1.名称：候车室led发布电脑\r\n2.类别：详设计 \r\n3.规格：I5、4核、2G高清显卡","台","1","","","","",""]
["42","030501007058","","发送卡","DS8021D 支持10位颜色支持32位以内的任意扫描方式，异型分割显示，最大校正6144点/模块，红绿蓝各256级。","张","5","","","","",""]
["43","030501007058","","接受卡","LRV901TD 8代系统RV801的持12位的HDMI颜色输入，最大支持红绿蓝各18位(26万级)灰度，单卡最大支持1024X256像素点","张","56","","","","",""]
["44","030507014058","","2K高清显示器","1.名称：2K高清显示器\r\n2.类别：详设计 \r\n3.规格：PRO垂直可视角度: 178°面板类型: AH-IPS，接口类型: HDMI VGA DVI平均亮度: 250cd/m^2分辨率: 2560x1440水平可视角度: 178°标称对比度: 5000万:1\r\n","台","1","","","","",""]
["45","030507006038","","LED管理电脑主机","1.名称：LED管理电脑主机\r\n2.类别：详设计 \r\n3.规格：I5、4核、2G高清显卡\r\n","台","1","","","","",""]
[" "," ","","分部小计"," "," "," ","","","","",""]
["本页小计","","","","","","","","","","",""]
[]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。                                                                             表-08 ","","","","","","","","","","",""]
["分部分项工程量清单与计价表","","","","","","","","","","",""]
["工程名称：","","剑阁下寺汽车站信息化集成系统【安装工程】","","","","","标段：","","","第8页 共8页",""]
["序号","项目编码","","项目名称","项目特征描述","计量\r\n单位","工程量","","金额（元）","","",""]
["","","","","","","","","综合单价","合价","","其   中"]
["","","","","","","","","","","","暂估价"]
[" "," ","","电视监控系统"," "," "," ","","","","",""]
["46","030507013060","","NVR主机","DS-8632N-E8 32路 8盘位 支持500W像素高清网络视频的预览、存储与回放，分辨率最高均可1920x1080p，重要录像文件加锁保护功能,支持8个SATA接口，","台","1","","","","",""]
["47","030507008061","","枪机","网络摄像机,300万有效像素,红外灯宽动态日夜转换，H.264/MJPEG压缩格式，含支架","套","24","","","","",""]
["48","030507008061","","球机","DS-2DE7186E  像素200-299万 1mU形架","套","2","","","","",""]
["49","030501004062","","ST3T监控专用硬盘","ST33.5英寸容量3000GB接口类型SATA3.0","只","2","","","","",""]
[" "," ","","分部小计"," "," "," ","","","","",""]
[" "," ","","站务及监控系统"," "," "," ","","","","",""]
["50","030507014054","","拆卸搬迁安装55寸触摸屏查询机","1.名称：55寸触摸屏查询机\r\n2.类别：详设计 \r\n3.规格：VS-TP5500\r\n4.拆卸搬迁安装","台","1","","","","",""]
[" "," ","","分部小计"," "," "," ","","","","",""]
["","","","","","","","","","","",""]
["","","","","","","","","","","",""]
["","","","","","","","","","","",""]
["","","","","","","","","","","",""]
["本页小计","","","","","","","","","","",""]
["合　　计","","","","","","","","","","",""]
[]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。                                                                             表-08 ","","","","","","","","","","",""]

{"sheet":"F.1.2 单价措施项目清单计价表(表-08)【安装工程】","index":4,"n_rows":27,"n_cols":12,"rows_kept":27,"merged":[[0,0,0,11],[1,0,1,1],[1,2,1,6],[1,7,1,9],[1,10,1,11],[2,0,4,0],[2,1,4,2],[2,3,4,3],[2,4,4,4],[2,5,4,5],[2,6,4,7],[2,8,2,11],[3,8,4,8],[3,9,4,10],[4,1,4,2],[4,6,4,7],[4,9,4,10],[5,1,5,2],[5,6,5,7],[5,9,5,10],[6,1,6,2],[6,6,6,7],[6,9,6,10],[7,1,7,2],[7,6,7,7],[7,9,7,10],[8,1,8,2],[8,6,8,7],[8,9,8,10],[9,1,9,2],[9,6,9,7],[9,9,9,10],[10,1,10,2],[10,6,10,7],[10,9,10,10],[11,1,11,2],[11,6,11,7],[11,9,11,10],[12,1,12,2],[12,6,12,7],[12,9,12,10],[13,1,13,2],[13,6,13,7],[13,9,13,10],[14,1,14,2],[14,6,14,7],[14,9,14,10],[15,1,15,2],[15,6,15,7],[15,9,15,10],[16,1,16,2],[16,6,16,7],[16,9,16,10],[17,1,17,2],[17,6,17,7],[17,9,17,10],[18,1,18,2],[18,6,18,7],[18,9,18,10],[19,1,19,2],[19,6,19,7],[19,9,19,10],[20,1,20,2],[20,6,20,7],[20,9,20,10],[21,1,21,2],[21,6,21,7],[21,9,21,10],[22,1,22,2],[22,6,22,7],[22,9,22,10],[23,0,23,8],[23,9,23,10],[24,0,24,8],[24,9,24,10],[26,0,26,11]],"flags":["formulas_cached_only"]}
["单价措施项目清单与计价表","","","","","","","","","","",""]
["工程名称：","","剑阁下寺汽车站信息化集成系统【安装工程】","","","","","标段：","","","第1页 共1页",""]
["序 号","项目编码","","项目名称","项目特征描述","计量\r\n单位","工程量","","金额（元）","","",""]
["","","","","","","","","综合单价","合价","","其中"]
["","","","","","","","","","","","暂估价"]
[" "," ","","专业措施项目"," "," "," ","","","","",""]
[" "," ","","小计"," "," "," ","","","","",""]
["","","","","","","","","","","",""]
["","","","","","","","","","","",""]
["","","","","","","","","","","",""]
["","","","","","","","","","","",""]
["","","","","","","","","","","",""]
["","","","","","","","","","","",""]
["","","","","","","","","","","",""]
["","","","","","","","","","","",""]
["","","","","","","","","","","",""]
["","","","","","","","","","","",""]
["","","","","","","","","","","",""]
["","","","","","","","","","","",""]
["","","","","","","","","","","",""]
["","","","","","","","","","","",""]
["","","","","","","","","","","",""]
["","","","","","","","","","","",""]
["本页小计","","","","","","","","","","",""]
["合　　计","","","","","","","","","","",""]
[]
["注：为计取规费等的使用，可在表中增设其中：“定额人工费”。                                                                             表-08 ","","","","","","","","","","",""]

{"sheet":"F.4 总价措施项目清单计价表(表-11)【安装工程】","index":5,"n_rows":21,"n_cols":12,"rows_kept":21,"merged":[[0,0,0,11],[1,0,1,1],[1,2,1,5],[1,6,1,7],[1,8,1,11],[2,1,2,2],[2,3,2,4],[2,8,2,9],[3,1,3,2],[3,3,3,4],[3,8,3,9],[4,1,4,2],[4,3,4,4],[4,8,4,9],[5,1,5,2],[5,3,5,4],[5,8,5,9],[6,1,6,2],[6,3,6,4],[6,8,6,9],[7,1,7,2],[7,3,7,4],[7,8,7,9],[8,1,8,2],[8,3,8,4],[8,8,8,9],[9,1,9,2],[9,3,9,4],[9,8,9,9],[10,1,10,2],[10,3,10,4],[10,8,10,9],[11,1,11,2],[11,3,11,4],[11,8,11,9],[12,1,12,2],[12,3,12,4],[12,8,12,9],[13,1,13,2],[13,3,13,4],[13,8,13,9],[14,1,14,2],[14,3,14,4],[14,8,14,9],[15,1,15,2],[15,3,15,4],[15,8,15,9],[16,1,16,2],[16,3,16,4],[16,8,16,9],[17,0,17,6],[17,8,17,9],[19,0,19,3],[19,4,19,5],[19,6,19,8],[19,9,19,11],[20,0,20,11]],"flags":["formulas_cached_only"]}
["总价措施项目清单计价表","","","","","","","","","","",""]
["工程名称：","","剑阁下寺汽车站信息化集成系统【安装工程】","","","","标段：","","第1页 共1页","","",""]
["序 号","项目编码","","项目名称","","计算基础","费率\r\n（%）","金额\r\n（元）","调整费率\r\n(%)","","调整后\r\n金额(元)","备注"]
["1","031302001001","","安全文明施工",""," "," ","","","",""," "]
["1.1","①","","环境保护","","分部分项定额人工费+单价措施定额人工费","0.3","","","",""," "]
["1.2","②","","文明施工","","分部分项定额人工费+单价措施定额人工费","2.2","","","",""," "]
["1.3","③","","安全施工","","分部分项定额人工费+单价措施定额人工费","3.16","","","",""," "]
["1.4","④","","临时设施","","分部分项定额人工费+单价措施定额人工费","5.26","","","",""," "]
["2","031302002001","","夜间施工增加",""," "," ","","","",""," "]
["3","031302003001","","非夜间施工增加",""," "," ","","","",""," "]
["4","031302004001","","二次搬运",""," "," ","","","",""," "]
["5","031302005001","","冬雨季施工增加",""," "," ","","","",""," "]
["6","031302006001","","已完工程及设备保护",""," "," ","","","",""," "]
["7","031302007001","","高层施工增加",""," "," ","","","",""," "]
["8","031302008001","","工程定位复测费",""," "," ","","","",""," "]
["","","","","","","","","","","",""]
["","","","","","","","","","","",""]
["合　　计","","","","","","","","","","",""]
[]
["编制人（造价人员）：","","","","","","复核人（造价工程师）：","","","","",""]
["注:1“计算基础”中安全文明施工费可为“定额基价”、“定额人工费”或“定额人工费+定额机械费”，其他项目可为“定额人工费”或“定额人工费+定额机械费”。\r\n   2 按施工方案计算的措施费，若无“计算基础”和“费率”的数值，也可只填“金额”数值，但应在备注栏说明施工方案出处或计算方法。                                 \r\n                                                                                                                                                          表-11","","","","","","","","","","",""]

{"sheet":"G.1 其他项目清单计价汇总表(表-12)【安装工程】","index":6,"n_rows":27,"n_cols":6,"rows_kept":27,"merged":[[0,0,0,5],[1,2,1,4],[2,4,2,5],[3,4,3,5],[4,4,4,5],[5,4,5,5],[6,4,6,5],[7,4,7,5],[8,4,8,5],[9,4,9,5],[10,4,10,5],[11,4,11,5],[12,4,12,5],[13,4,13,5],[14,4,14,5],[15,4,15,5],[16,4,16,5],[17,4,17,5],[18,4,18,5],[19,4,19,5],[20,4,20,5],[21,4,21,5],[22,4,22,5],[23,4,23,5],[24,0,24,1],[24,4,24,5],[26,0,26,5]],"flags":["formulas_cached_only"]}
["其他项目清单与计价汇总表","","","","",""]
["工程名称：","剑阁下寺汽车站信息化集成系统【安装工程】","标段：","","","第1页 共1页"]
["序号","项 目 名 称","金额（元）","结算金额(元)","备注",""]
["1","暂列金额"," ","","明细详见表-12-1",""]
["2","暂估价","1905.00",""," ",""]
["2.1","材料(工程设备)暂估价/结算价","-","","明细详见表-12-2",""]
["2.2","专业工程暂估价/结算价","1905.00","","明细详见表-12-3",""]
["3","计日工"," ","","明细详见表-12-4",""]
["4","总承包服务费"," ","","明细详见表-12-5",""]
["","","","","",""]
["","","","","",""]
["","","","","",""]
["","","","","",""]
["","","","","",""]
["","","","","",""]
["","","","","",""]
["","","","","",""]
["","","","","",""]
["","","","","",""]
["","","","","",""]
["","","","","",""]
["","","","","",""]
["","","","","",""]
["","","","","",""]
["合　　计","","1905.00","","-",""]
[]
["注：材料（工程设备）暂估单价进入清单项目综合单价，此处不汇总。                                                                          表-12","","","","",""]

{"sheet":"G.2 暂列金额明细表(表-12-1)【安装工程】","index":7,"n_rows":26,"n_cols":5,"rows_kept":26,"merged":[[0,0,0,4],[1,2,1,3],[23,0,23,2],[25,0,25,4]],"flags":["formulas_cached_only"]}
["暂列金额明细表","","","",""]
["工程名称：","剑阁下寺汽车站信息化集成系统【安装工程】","标段：","","第1页 共1页"]
["序号","项目名称","计量单位","暂定金额(元)","备注"]
["1","暂列金额","项",""," "]
["","","","",""]
["","","","",""]
["","","","",""]
["","","","",""]
["","","","",""]
["","","","",""]
["","","","",""]
["","","","",""]
["","","","",""]
["","","","",""]
["","","","",""]
["","","","",""]
["","","","",""]
["","","","",""]
["","","","",""]
["","","","",""]
["","","","",""]
["","","","",""]
["","","","",""]
["合　　计","","","","-"]
[]
["注：此表由招标人填写，如不能详列，也可只列暂定金额总额，投标人应将上述暂列金额计入投标总价中。                                         表-12-1","","","",""]

{"sheet":"G.4 专业工程暂估价表(表-12-3)【安装工程】","index":8,"n_rows":27,"n_cols":9,"rows_kept":27,"merged":[[0,0,0,8],[1,0,1,1],[1,2,1,4],[1,5,1,6],[1,7,1,8],[2,1,2,2],[2,4,2,5],[3,1,3,2],[3,4,3,5],[4,1,4,2],[4,4,4,5],[5,1,5,2],[5,4,5,5],[6,1,6,2],[6,4,6,5],[7,1,7,2],[7,4,7,5],[8,1,8,2],[8,4,8,5],[9,1,9,2],[9,4,9,5],[10,1,10,2],[10,4,10,5],[11,1,11,2],[11,4,11,5],[12,1,12,2],[12,4,12,5],[13,1,13,2],[13,4,13,5],[14,1,14,2],[14,4,14,5],[15,1,15,2],[15,4,15,5],[16,1,16,2],[16,4,16,5],[17,1,17,2],[17,4,17,5],[18,1,18,2],[18,4,18,5],[19,1,19,2],[19,4,19,5],[20,1,20,2],[20,4,20,5],[21,1,21,2],[21,4,21,5],[22,1,22,2],[22,4,22,5],[23,0,23,3],[23,4,23,5],[25,0,25,8],[26,0,26,8]],"flags":["formulas_cached_only"]}
["专业工程暂估价及结算价表","","","","","","","",""]
["工程名称：","","剑阁下寺汽车站信息化集成系统【安装工程】","","","标段：","","第1页 共1页",""]
["序号","工程名称","","工程内容","暂估金额(元)","","结算金额(元)","差额±(元)","备注"]
["2.2.1","机柜隔层板",""," ","360.00","","",""," "]
["2.2.5","电源板",""," ","325.00","","",""," "]
["2.2.7","pdu机柜插座",""," ","220.00","","",""," "]
["2.2.9","其他费用",""," ","1000.00","","",""," "]
["","","","","","","","",""]
["","","","","","","","",""]
["","","","","","","","",""]
["","","","","","","","",""]
["","","","","","","","",""]
["","","","","","","","",""]
["","","","","","","","",""]
["","","","","","","","",""]
["","","","","","","","",""]
["","","","","","","","",""]
["","","","","","","","",""]
["","","","","","","","",""]
["","","","","","","","",""]
["","","","","","","","",""]
["","","","","","","","",""]
["","","","","","","","",""]
["合　　计","","","","1905.00","","-","-","-"]
[]
["注：此表“暂估金额”由招标人填写，投标人应将“暂估金额”计入投标总价中。结算时按合同约定结算金额填写。","","","","","","","",""]
["表-12-3 ","","","","","","","",""]

{"sheet":"H 规费、税金项目清单计价表(表-13)【安装工程】","index":9,"n_rows":23,"n_cols":6,"rows_kept":23,"merged":[[0,0,0,5],[1,1,1,2],[1,3,1,4],[19,0,19,4],[21,0,21,5],[22,0,22,5]],"flags":["formulas_cached_only"]}
["规费、税金项目计价表","","","","",""]
["工程名称：","剑阁下寺汽车站信息化集成系统【安装工程】","","标段：","","第1页 共1页"]
["序号","项目名称","计算基础","计算基数","计算费率（％）","金额(元)"]
["1","规费"," ","","",""]
["1.1","社会保险费"," ","","",""]
["(1)","养老保险费","分部分项清单定额人工费+单价措施项目清单定额人工费","","",""]
["(2)","失业保险费","分部分项清单定额人工费+单价措施项目清单定额人工费","","",""]
["(3)","医疗保险费","分部分项清单定额人工费+单价措施项目清单定额人工费","","",""]
["(4)","工伤保险费","分部分项清单定额人工费+单价措施项目清单定额人工费","","",""]
["(5)","生育保险费","分部分项清单定额人工费+单价措施项目清单定额人工费","","",""]
["1.2","住房公积金","分部分项清单定额人工费+单价措施项目清单定额人工费","","",""]
["1.3","工程排污费","按工程所在地环境保护部门收取标准，按实计入","","",""]
["2","销项增值税额","分部分项工程费+措施项目工程费+其他项目费+规费+创优质工程奖补偿奖励费","","",""]
["","","","","",""]
["","","","","",""]
["","","","","",""]
["","","","","",""]
["","","","","",""]
["","","","","",""]
["合计","","","","",""]
[]
["编制人（造价人员）：                                    复核人（造价工程师）：","","","","",""]
["                                                                                                                                   表-13","","","","",""]

{"sheet":"L.1 发包人提供主要材料和工程设备一览表(表-20)【安装~","index":10,"n_rows":25,"n_cols":8,"rows_kept":25,"merged":[[0,0,0,7],[1,1,1,3],[1,4,1,6],[23,0,23,7],[24,0,24,7]],"flags":["formulas_cached_only"]}
["发包人提供主要材料和工程设备一览表","","","","","","",""]
["工程名称：","剑阁下寺汽车站信息化集成系统【安装工程】","","","标段：","","","第1页 共1页"]
["序号","材料(工程设备)名称、规格、型号","单位","数量","  单价(元)","  交货方式","  送达地点","备注"]
[" "," "," "," "," "," "," "," "]
["","","","","","","",""]
["","","","","","","",""]
["","","","","","","",""]
["","","","","","","",""]
["","","","","","","",""]
["","","","","","","",""]
["","","","","","","",""]
["","","","","","","",""]
["","","","","","","",""]
["","","","","","","",""]
["","","","","","","",""]
["","","","","","","",""]
["","","","","","","",""]
["","","","","","","",""]
["","","","","","","",""]
["","","","","","","",""]
["","","","","","","",""]
["","","","","","","",""]
[]
["注：此表由招标人填写，供投标人在投标报价、确定总承包服务费时参考。","","","","","","",""]
["表-20 ","","","","","","",""]

{"sheet":"L.2 承包人提供主要材料和工程设备一览表(表-21)【安装~","index":11,"n_rows":72,"n_cols":10,"rows_kept":72,"merged":[[0,0,0,9],[1,1,1,4],[1,5,1,7],[1,8,1,9],[2,4,2,5],[3,4,3,5],[4,4,4,5],[5,4,5,5],[6,4,6,5],[7,4,7,5],[8,4,8,5],[9,4,9,5],[10,4,10,5],[11,4,11,5],[12,4,12,5],[13,4,13,5],[14,4,14,5],[15,4,15,5],[16,4,16,5],[17,4,17,5],[18,4,18,5],[19,4,19,5],[20,4,20,5],[21,4,21,5],[23,0,23,9],[24,0,24,9],[25,1,25,4],[25,5,25,7],[25,8,25,9],[26,4,26,5],[27,4,27,5],[28,4,28,5],[29,4,29,5],[30,4,30,5],[31,4,31,5],[32,4,32,5],[33,4,33,5],[34,4,34,5],[35,4,35,5],[36,4,36,5],[37,4,37,5],[38,4,38,5],[39,4,39,5],[40,4,40,5],[41,4,41,5],[42,4,42,5],[43,4,43,5],[44,4,44,5],[45,4,45,5],[47,0,47,9],[48,0,48,9],[49,1,49,4],[49,5,49,7],[49,8,49,9],[50,4,50,5],[51,4,51,5],[52,4,52,5],[53,4,53,5],[54,4,54,5],[55,4,55,5],[56,4,56,5],[57,4,57,5],[58,4,58,5],[59,4,59,5],[60,4,60,5],[61,4,61,5],[62,4,62,5],[63,4,63,5],[64,4,64,5],[65,4,65,5],[66,4,66,5],[67,4,67,5],[68,4,68,5],[69,4,69,5],[71,0,71,9]],"flags":["formulas_cached_only"]}
[" 承包人提供主要材料和工程设备一览表\r\n（适用造价信息差额调整法）","","","","","","","","",""]
["工程名称：","剑阁下寺汽车站信息化集成系统【安装工程】","","","","标段：","","","第1页 共3页",""]
["序号","名称、规格、型号","单位","数量","风险系数(%)","","基准单价(元)","投标单价(元)","发承包人确认单价(元)","备注"]
["1","网线","m","1555.5"," ","","0.80","",""," "]
["2","PVC电工线管","m","3080"," ","","1.50","",""," "]
["3","网络服务器","台","1"," ","","18000.00","",""," "]
["4","服务器硬盘","台","2"," ","","654.00","",""," "]
["5","网络交换机","台","2"," ","","2800.00","",""," "]
["6","管理电脑主机","台","1"," ","","3600.00","",""," "]
["7","中英双语广播软件","套","1"," ","","18000.00","",""," "]
["8","吸顶音响","只","6"," ","","97.00","",""," "]
["9","柜台显示器 19寸","套","4"," ","","860.00","",""," "]
["10","系统显示控制软件","套","1"," ","","8500.00","",""," "]
["11","2K高清显示器","台","1"," ","","1500.00","",""," "]
["12","服务器机柜","个","1"," ","","3200.00","",""," "]
["13","电源线 RVV-2*6mm2","m","1080"," ","","1.30","",""," "]
["14","广播音响线 flykace 2*2.5mm2","m","540"," ",""," ","",""," "]
["15","光纤终端盒 12芯","个","3.06"," ","","45.00","",""," "]
["16","光纤收发机","盒","6.06"," ","","290.00","",""," "]
["17","尾纤（10m单头）","根","18.36"," ","","6.00","",""," "]
["18","6芯光纤","m","1530"," ","","1.80","",""," "]
["19","光纤连接器材","套","6.06"," ","","18.00","",""," "]
[]
["注：1.此表由招标人填写除“投标单价”栏的内容，投标人在投标时自主确定投标单价。\r\n    2.招标人应优先采用工程造价管理机构发布的单价作为基准单价，未发布的，通过市场调查确定其基准单价。\r\n                                                                                                                                   表-21 ","","","","","","","","",""]
[" 承包人提供主要材料和工程设备一览表\r\n（适用造价信息差额调整法）","","","","","","","","",""]
["工程名称：","剑阁下寺汽车站信息化集成系统【安装工程】","","","","标段：","","","第2页 共3页",""]
["序号","名称、规格、型号","单位","数量","风险系数(%)","","基准单价(元)","投标单价(元)","发承包人确认单价(元)","备注"]
["20","网线水晶头","个","250"," ","","0.80","",""," "]
["21","跳线连接器","个","154"," ","","15.00","",""," "]
["22","理线器","个","1"," ","","34.50","",""," "]
["23","配线架 24口1U","个","1"," ","","200.00","",""," "]
["24","隔板","个","4"," ","","260.00","",""," "]
["25","路由器 H3C RT-MS2020","台","1"," ","","3200.00","",""," "]
["26","交换机 24口poe","台","2"," ","","2800.00","",""," "]
["27","自动检票机芯","套","1"," ","","7500.00","",""," "]
["28","站务系统自动检票","套","1"," ","","2500.00","",""," "]
["29","检票机交换机","台","1"," ","","320.00","",""," "]
["30","防水壁挂音柱","只","2"," ","","300.00","",""," "]
["31","网络功放 350W","台","1"," ","","2500.00","",""," "]
["32","窗口双向对讲机","台","3"," ","","180.00","",""," "]
["33","数据汇聚软件","套","1"," ","","2800.00","",""," "]
["34","3.75单红","m2","8.255"," ","","3600.00","",""," "]
["35","发送卡","张","5"," ","","300.00","",""," "]
["36","接受卡","张","56"," ","","150.00","",""," "]
["37","LED管理电脑主机","台","1"," ","","3600.00","",""," "]
["38","NVR主机","台","1"," ","","3000.00","",""," "]
[]
["注：1.此表由招标人填写除“投标单价”栏的内容，投标人在投标时自主确定投标单价。\r\n    2.招标人应优先采用工程造价管理机构发布的单价作为基准单价，未发布的，通过市场调查确定其基准单价。\r\n                                                                                                                                   表-21 ","","","","","","","","",""]
[" 承包人提供主要材料和工程设备一览表\r\n（适用造价信息差额调整法）","","","","","","","","",""]
["工程名称：","剑阁下寺汽车站信息化集成系统【安装工程】","","","","标段：","","","第3页 共3页",""]
["序号","名称、规格、型号","单位","数量","风险系数(%)","","基准单价(元)","投标单价(元)","发承包人确认单价(元)","备注"]
["39","枪击支架","套","24"," ","","25.00","",""," "]
["40","球机支架","个","2"," ","","70.00","",""," "]
["41","ST3T监控专用硬盘","个","2"," ","","1000.00","",""," "]
["42","枪机","台","24"," ","","450.00","",""," "]
["43","球机","台","2"," ","","4500.00","",""," "]
["44","业务电脑","台","1"," ","","3600.00","",""," "]
["45","停车位双面LED显示屏","套","14.002"," ","","3000.00","",""," "]
["46","站前广场LED单红屏","套","1"," ","","8500.00","",""," "]
["47","焊条 综合","kg","6.706"," ","","5.50","",""," "]
["48","螺栓(综合)","kg","3.483"," ","","6.50","",""," "]
["49","其他材料费","元","60.564"," ","","1.00","",""," "]
["50","钢支架","套","14"," ","","300.00","",""," "]
["51","P4全彩屏","m2","6.564"," ","","4050.00","",""," "]
["","","","","","","","","",""]
["","","","","","","","","",""]
["","","","","","","","","",""]
["","","","","","","","","",""]
["","","","","","","","","",""]
["","","","","","","","","",""]
[]
["注：1.此表由招标人填写除“投标单价”栏的内容，投标人在投标时自主确定投标单价。\r\n    2.招标人应优先采用工程造价管理机构发布的单价作为基准单价，未发布的，通过市场调查确定其基准单价。\r\n                                                                                                                                   表-21 ","","","","","","","","",""]